## Slide 1: MPPT Hybrid Solar Inverter Project Dual Solar and AC Charging System
Detailed Project Presentation
Prepared for Academic Demonstration
Circuits Bazaar | Contact: +91-8684-8844-88

## Slide 2: Introduction
• Increasing demand for reliable and clean energy systems
• Limitations of conventional power sources
• Importance of renewable energy and hybrid systems
• Overview of MPPT Hybrid Solar Inverter concept

## Slide 3: Project Objective
• Design a hybrid inverter with dual charging sources
• Efficient utilization of solar energy using MPPT
• Provide uninterrupted power using battery storage
• Educational and practical implementation

## Slide 4: System Overview
• Solar panel as primary renewable source
• MPPT charge controller for optimized charging
• AC mains charger as backup charging source
• Battery bank for energy storage
• Inverter for DC to AC conversion

## Slide 5: Block Diagram

## Slide 6: Circuit Diagram

## Slide 7: Block Diagram Description
• Solar panel supplies DC power
• MPPT controller regulates charging
• Battery stores energy
• AC charger provides backup charging
• Inverter converts DC to AC output

## Slide 8: Solar Panel
• Converts sunlight into electrical energy
• Works on photovoltaic principle
• Provides DC output suitable for charging
• Renewable and eco-friendly source

## Slide 9: MPPT Charge Controller
• Maximum Power Point Tracking technology
• Extracts maximum power from solar panel
• Improves charging efficiency
• Protects battery from overcharging

## Slide 10: Battery Bank
• Stores electrical energy
• Provides backup during low solar conditions
• Supplies DC power to inverter
• Commonly 12V lead-acid or lithium battery

## Slide 11: AC Mains Charger
• Converts 230V AC to regulated DC
• Charges battery when solar power is unavailable
• Ensures uninterrupted energy storage
• Acts as secondary charging source

## Slide 12: Inverter Section
• Converts DC power to AC power
• Enables use of standard AC appliances
• Core part of power delivery system
• Designed for educational demonstration

## Slide 13: IC 4047 Oscillator
• Generates square wave signal
• Controls inverter switching frequency
• Ensures stable AC output
• Commonly used in inverter applications

## Slide 14: MOSFET Power Stage
• Acts as electronic switch
• Amplifies oscillator signal
• Handles high current switching
• Improves efficiency of inverter

## Slide 15: Step-Up Transformer
• Increases voltage level
• Converts low-voltage AC to high-voltage AC
• Provides isolation and safety
• Enables appliance operation

## Slide 16: Working Principle
• Solar energy charges battery via MPPT
• AC mains charges battery when solar absent
• Battery supplies DC to inverter
• Inverter delivers AC output

## Slide 17: Advantages
• Renewable energy utilization
• Dual charging capability
• Improved efficiency using MPPT
• Reliable and continuous power supply

## Slide 18: Disadvantages
• Initial setup cost
• Battery maintenance required
• Limited power output capacity

## Slide 19: Applications
• Educational and academic projects
• Backup power systems
• Rural electrification
• Renewable energy demonstrations

## Slide 20: Future Scope
• Integration with IoT monitoring
• Higher capacity inverter design
• Smart energy management
• Advanced battery technologies

## Slide 21: Conclusion
• Demonstrates hybrid renewable energy system
• Efficient use of solar and AC power
• Suitable for learning and practical implementation
• Scalable for real-world applications
Circuits Bazaar | Contact: +91-8684-8844-88